[image: image1.jpg]NORTHTOWN

Pipe Protection Products




Standard Density PTFE Thread Seal Tape


WHITE PTFE THREAD SEAL TAPE For all industrial applications. Made from 100% virgin PTFE. No pigments, no additives. May be used on all applications including water, oil, chemical, medical, and food processing where non-contamination standards are high. Exceeds MIL Spec T-27730A.Temperature range of -450°F to +550°F. Available in a variety of sizes. 





   Size             Density           Thickness	


1/2" x 260" 0.4     0.0035" (+/- 0.0005")


1/2" x 520" 0.4     0.0035" (+/- 0.0005")


1/2" x 610" 0.4     0.0035" (+/- 0.0005")


3/4" x 260" 0.4     0.0035" (+/- 0.0005")


3/4" x 520" 0.4     0.0035" (+/- 0.0005")


    1" x 260" 0.4     0.0035" (+/- 0.0005")


    1" x 520" 0.4     0.0035" (+/- 0.0005")





PRODUCT DATA SHEET





800 WRAP-A-PIPE


P.O. BOX 2064 Huntington Beach, CA 92647


(714) 897-0700 Fax (714) 897-0600








